Annex B_Buildings information

| SLABS OVERLOAD |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | NORTH PAVILION [KN/mq] | SOUTH PAVILION [KN/mq] | INCUBATOR 1 [KN/mq] | INCUBATOR 2 [KN/mq] | INCUBATOR 3 [KN/mq] |
| GROUND FLOOR | 2,5 | 2,5 | 4 | 8 | 8 |
| FIRST FLOOR | 2,5 | 2,5 | 4 | - | 4 |
| ROOF | 1,2 | 4 | 4 | 4 | 4 |
| ACCESS RAMPS |  |  |  |  |  |
|  | NORTH PAVILION | SOUTH PAVILION | INCUBATOR 1 | INCUBATOR 2 | INCUBATOR 3 |
| LOAD CAPACITY [kg] |  |  |  |  |  |
| GOODSLIFTS |  |  |  |  |  |
|  | NORTH PAVILION | SOUTH PAVILION | INCUBATOR 1 | INCUBATOR 3 |  |
| LOAD CAPACITY [kg] | 2000 | 900 | 1000 | 1000 |  |
| CABIN NET DIMENSIONS (lxwxh) [m] | 1,50 x 2,7 x 2,15 | 1,40 x 1,50 x 2,20 | 1,40 x 2,40 x 2,30 | 1,40 x 2,40 x 2,30 |  |
| DOOR NET DIMENSIONS (lxh) [m] | 1,00 x 2,00 | 0,90 x 2,00 | 1,40 x 2,30 | 1,40 x 2,30 |  |